ARCHITECTURAL SPECIFICATIONS

Massio MCP-108 8-Button ControlPad (US, UK, EU)
MCP-108-BL (FG2102-08-B), Landscape, Black

MCP-108-WH (FG2102-08-W), Landscape, White

SUMMARY
· The ControlPad shall contain a room controller combined a with an easy to use 8-button keypad, pushable rotary volume knob, LED volume indicator interface that mounts into a standard 2 gang US, UK, or EU back box.
REQUIREMENTS

· ControlPad shall include a built-in master controller. ControlPads that do not include a built-in Master Controller shall not be accepted.
· ControlPad must include one (1) rotary volume knob with push mute.  ControlPads that do not include one (1) rotary volume knob with push mute shall not be accepted.

· ControlPad must include one (1) seven digit LED volume indicator. ControlPads that do not include one (1) seven digit LED volume indicator shall not be accepted.
· ControlPad must include two (2) control ports capable of RS-232 communications.  ControlPads that do not include two (2) control ports capable of supporting RS-232 communications shall not be accepted.
· ControlPad RS-232 communication port must support baud rates of 300 and up to 15200. ControlPads with RS-232 communication ports that do not support baud rates of 300 and up to 115200 shall not be accepted.
· ControlPad must include two (2) IR control ports.  ControlPads that do not include two (2) IR control ports shall not be accepted.
· ControlPad IR control ports must support carrier frequencies up to 1.142 MHz.  ControlPads IR control ports that do not support carrier frequencies up to 1.142 MHz shall not be accepted.
· ControlPad must include two (2) relay control ports.  ControlPads that do not include two (2) relay control ports shall not be accepted.
· ControlPad must include two (2) IO control ports.  ControlPads that do not include two (2) IO control ports shall not be accepted.
· ControlPad must support integration into AMX's Resource Management Suite, which enables web-based remote diagnostics and management. ControlPads that do not support integration into AMX's Resource Management Suite will not be accepted.
· ControlPad must be easily programmed using a rapid programming software tool. ControlPads that do not support easy to use rapid programming software tools shall not be accepted.
TECHNICAL SPECIFICATIONS
· Dimensions: 4 11/16” x 6" x 1” (11.9 cm x 15.3 cm x 2.6 cm) – Mounts in standard 2 gang US, UK, or EU back boxes.
· Power requirements: POE (37V – 57V)
· Colors Available – White, Black
FRONT PANEL COMPONENTS 

· Eight (8) backlit buttons with programmable feedback
· Rotary volume knob with push mute
· LED volume indicator
REAR PANEL COMPONENTS 

· One (1) USB Mini-B Program port

· Two (2) RS-232 ports provide serial control via 3 pin phoenix connectors
· Supports baud rates up to 115,200
· Two (2) IR ports provide control via two (2) 2-pin phoenix connectors
· Supports high-frequency carriers of up to 1.142 MHz 
· Two (2) relay ports provide control via 4-pin phoenix connector 

· Two (2) IO ports provide control via 4-pin phoenix connector 
· One (1) Ethernet - 1 RJ-45 connector for LAN connectivity.

INCLUDED ACCESSORIES

· Pre-Printed Labels (40-0087)

· Wall mounting plate

· Mating connectors for all Phoenix connectors
OPTIONAL ACCESSORIES
· CC-NIRC, IR Emitter Cable (FG10-000-11) 
· AC-3008, Podium mounting kit for CP-3008
PRODUCT ID

· The ControlPad shall be manufactured by AMX and shall be a Massio MCP-108.

About AMX
AMX hardware and software solutions simplify the implementation, maintenance, and use of technology to create effective environments. With the increasing number of technologies and operating platforms at work and home, AMX solves the complexity of managing this technology with reliable, consistent and scalable systems. Our award-winning products span control and automation, system-wide switching and audio/video signal distribution, digital signage and technology management. They are implemented worldwide in conference rooms, homes, classrooms, network operation / command centers, hotels, entertainment venues, broadcast facilities, and more.  ©2014 AMX. All rights reserved.

Specifications subject to change.  17 June 2014.
AMX.com   |   800.222.0193   |   469.624.8000   |   +1.469.624.7400   |   fax 469.624.7153
