ARCHITECTURAL SPECIFICATIONS

20.3” Modero X Series G5 Panoramic Touch Panel
MXT-2001-PAN Tabletop (FG5968-35)
MXD-2001-PAN-P Portrait Wall Mount (FG5968-36)

MXD-2001-PAN-L Landscape Wall Mount (FG5968-37)

SUMMARY

· Touch panel shall offer a panoramic control surface, allowing users to easily and intuitively access multiple functions, while remaining unobtrusive. Recognition by the industry and industry design awards is highly desirable. 

TOUCH SCREEN DISPLAY REQUIREMENTS
· Touch panel display shall have a Quad Core Processor. Touch panels that don’t have a Quad Core Processor, shall not be accepted
· Touch panel display shall utilize a TFT Active Matrix Color (LED backlit) LCD with In-Plane Switching Technology ( IPS).  Touch panels not utilizing LED-backlit TFT, IPS displays, shall not be accepted.
· Touch panel must be available in portrait and landscape orientations. Touch panels not offering this design flexibility shall not be accepted.
· Touch panel display must support the following minimum resolutions: 1920 x 800 (tabletop and wall mount landscape), 800 x 1920 (wall mount portrait). Lower resolution displays shall not be accepted.
· Touch panel display must support a contrast ratio of 1000:1 or better. Displays with lower contrast ratios shall not be accepted.

· Display aspect ratio must be 12:5 (tabletop and wall mount landscape) or 5:12 (wall mount portrait). Displays with lower aspect ratios shall not be accepted.
· Display shall feature 250 cd/m2  brightness or better. Panels with lower brightness shall not be accepted.
· Color depth must be 16.7 M colors or better. Panels with lower color depth shall not be accepted.

· Touch panel must have a projected capacitive overlay, with multi-touch support of at least  (3) simultaneous touches. Touch overlays of other types, or capacitive overlays not supporting at least 3 simultaneous touches, shall not be accepted.
· Viewing angle must be equal to or better than 89( horizontally and vertically. Touch panels with narrower viewing angles shall not be accepted.
· Tabletop and Wall Mount Landscape Display size:  20.4” x 9.5” (519 mm x 242 mm), 21.3” diagonal (541 mm).
· Wall Mount Portrait Display Size: 9.5” x 20.4” (242 mm x 519 mm), 21.3” diagonal (541 mm).
· Tabletop and Wall Mount Landscape Viewable area: 18.7” x 7.8” (475mm x 198 mm), 20.3” (514 mm) diagonal.

· Wall Mount Portrait Viewable area: 7.8” x 18.7” (198 mm x 475 mm), 20.3” (514 mm) diagonal.

· Tabletop Touch panel shall be constructed with edge-to-edge glass on a metal uni-frame. Touch panels not constructed in this manner shall not be accepted.
· Wall/flush mount panels shall be constructed with edge-to edge glass on a clear outer housing with built-in locking tabs for installation. Touch panels not constructed in this manner shall not be accepted.
· Touch panel display brightness must have the ability to be adjusted manually or automatically through a photosensitive light detector in the panel. Touch panels not supporting such display brightness adjustment capabilities shall not be accepted.
MEMORY REQUIREMENTS
· Touch panel must have a minimum SDRAM of 2 GB and 16 GB of Flash memory, with 12 GB flash available to user. Touch panels with less than 2 GB of SDRAM, 16 GB of Flash memory and 12 GB available for project files shall not be accepted.
COMMUNICATIONS

· Touch Panel must support Near Field Communications (NFC) with the following standards: ISO/IEC 15693, ISO/IEC 14443A, ISO/IEC 14443B; Unique Identifier (UID). Touch panels not supporting NFC, or not supporting the listed standards shall not be accepted.
· Touch Panel NFC reader must be able to read NFC tags between a typical range of .25” to .5”. Touch panels not meeting these read parameters shall not be accepted.
· Touch panel NFC capabilities must allow for programming the execution of system macros, customizing of interface based on specific tags, and unlocking of interface based on unique NFC tags. Touch panels not supporting such NFC capabilities shall not be accepted.
· Touch panel must support Ethernet communications via a 10/100 port with RJ45 connector. Touch panels not supporting standard 10/100 Ethernet communications and connectors shall not be accepted.
· Touch panel must support the following IP and IP-based protocols: UCP, TCP, ICMP, ICSP, IGMP, DHCP, Telnet, FTP, DNS, RFB (for VNC), HTTP. Touch panels not supporting the listed protocols shall not be accepted.

· Ethernet must support dynamic and static IP addressing. Ethernet implementations that do not support both dynamic and static IP addressing shall not be accepted. 

· Touch panels should connect over the existing Ethernet LANs to any number of control systems via connected master controller through a single connection managed at the panel. Touch panels that must connect to a dedicated lower-speed proprietary control system network or manage multiple connections at the panel shall not be accepted.

· Tabletop touch panel must have a minimum of (3) USB host 2.0, type A ports. Touch panels not supporting at least (3) USB, type A ports shall not be accepted.
· Wall/flush mounted panels must have a minimum of (2) USB host 2.0, type A ports. Touch panels not supporting at least (2) USB, type A ports shall not be accepted.
· Touch panel must support firmware upgrades, JPEG image viewer, HID peripherals, and audio output for headsets via USB host 2.0, type A ports.
· Touch panels must be equipped with a built-in video camera to be used for panel-to-panel video chat. Touch panels not equipped with a built-in video camera, or requiring an external camera shall not be accepted.
· Touch panel must have an optional and removable Bluetooth adapter. Touch panels not supporting a removable Bluetooth adapter shall not be accepted.
· When Bluetooth adapter is connected, the following Bluetooth capabilities must be supported: Mouse/Keyboard HID Profile v1.1, Hands Free Profile v1.5, and Headset Profile v1.2. Touch panels not supporting such Bluetooth Profiles shall not be accepted.
· Touch panel must have an optional Bluetooth Handset that mirrors the panel’s aesthetics. Touch panels not supporting an optional Bluetooth handset with matching aesthetics shall not be accepted.
· Touch panel must support remote management via built-in VNC server application and through server-based resource management system. Touch panels not supporting remote management via the listed methods shall not be accepted.
· Touch panel must have built-in VNC viewer application. Touch panels that don’t have a built-in VNC viewer shall not be accepted.
VIDEO REQUIREMENTS
· Touch panel must support the following video transport streams: MPEG-TS for MPEG2 and H.264; HTTP for MJPEG. Touch panels not supporting all of these video transport streams shall not be accepted.
· Touch panels must support (1) encode and (1) decode video transport stream. Touch panels not supporting at least (1) simultaneous encode and (1) decode stream shall not be accepted.
· Touch panel must support panel-to-panel video chat through the panel’s built-in video camera. Panels not supporting panel-to-panel video chat in this manner shall not be accepted.
· Touch panel must support the following video codecs and Profiles: MPEG2 TS- MPEG2 Main Profile @High Level up to 720p at 25 fps (decode only). MPEG-2-TS: H.264 High Profile @ Layer 4, AAC-LC up to 720p at 25 fps (encode/decode). MPEG up to 720p at 25 fps (decode only). Touch panels not supporting such video codecs and profiles shall not be accepted.

· Touch panel must support an option (through additional hardware) to simultaneously preview up to (10), continuously-refreshing images. An enhanced option must also allow the end-user to select one of the preview images to view it as a full-motion video stream. Touch panels not supporting such video capabilities shall not be accepted.
AUDIO REQUIREMENTS
· Touch panel must be equipped with built-in microphone and speaker. Touch panels without a built-in microphone and speaker shall not be accepted.
· Touch panel must support full digital duplex VoIP, SIP v2.0, telephone or intercom interface. Touch panels not supporting these features shall not be accepted.
· Touch panel must support the following audio codecs: MP2 Layer I and II, MP3 (8 kHz, 11.025 kHz, 12 kHz, 16 kHz, 22.05 kHz, 24 kHz, 32 kHz, 44.1 kHz, 48 kHz), G.711 with μLaw (VoIP encode/decode at 8 kHz), and AAC-LC (8 kHz, 96 kHz). Touch panels not supporting such codecs shall not be accepted.

· Touch panel must support audio playback of WAV and MP3 files when part of the touch panel file. Touch panels not supporting playback of these file formats shall not be accepted.

TOUCH GESTURE RECOGNITION REQUIREMENTS
· Touch panel must support at a minimum the following gestures: swipe up, swipe down, swipe right, swipe left, clockwise circle, counter-clockwise circle, double tap, 2-finger swipe down, 2-finger swipe right, 2-finger swipe left. Touch panels not supporting the listed gestures shall not be accepted.
· Touch panel must support gestures whether a user is using a finger, a mouse through a VNC connection, or a mouse connected through a local USB port on the panel. Touch panels not having such gesture support shall not be accepted.
EMBEDDED APPLICATIONS
· Touch panel must support the following Viewer Applications: PDF, JPEG, BMP, PNG, TIFF, GIF Touch panels not supporting the listed Viewer Applications shall not be accepted.
· Touch panel must have Remote Management via a VNC Server or G5 Web Control. Touch panels without Remote Management shall not be accepted.
· Touch panel must support the following Video Conferencing Applications: Skype, Touch panels that don’t support the above Video Conferencing Applications shall not be accepted.
· Touch panel must have Audio Conferencing with Full Duplex Intercom. Touch panels not having Audio Conferencing with Full Duplex Intercom shall not be accepted.
TECHNICAL SPECIFICATIONS

Touch Screen Display

· Display type: TFT Active Matrix Color LCD with In-plane Switching Technology (IPS) 

· Display Size (WH): Tabletop and Wall Mount Landscape: 20.4" x 9.5" (519 mm x 242 mm), Wall Mount Portrait: 9.5" x 20.4" (242 mm x 541 mm), 20.4" (541 mm) diagonal 

· Viewable Area (WH): Tabletop and Wall Mount Landscape: 18.7" x 7.8" (475 mm x 198 mm), Wall Mount Portrait: 7.8" x 18.7" (198 mm x 475 mm), 19.4" (541 mm) diagonal 

· Resolution (WH): Tabletop and Wall Mount Landscape: 1920x800, Wall Mount Portrait: 800x1920 

· Aspect Ratio (WH): Tabletop and Wall Mount Landscape: 12:5, Wall Mount Portrait 5:12
· Brightness: 250 cd/m2 

· Contrast Ratio: 1000:1
· Color Depth: 16.7M colors
· Illumination: LED
· Touch Overlay: Projected Capacitive, multi-touch support, 3 simultaneous max 

· Viewing angle: Vertical ± 89°, Horizontal ± 89° 

Memory

· Memory: 2 GB SDRAM, 16 GB Flash, 12 GB flash available to user
Communications
· Ethernet: 10/100 port, RJ-45 connector

· USB

· Tabletop:

· (3) USB host 2.0, Type A ports

· Wall Mount:

· (2) USB host 2.0, Type A ports

Near Field Communications (NFC)

· Supports standards ISO/IEC 15693, ISO/IEC 14443A, ISO/IEC 14443B; Unique Identifier (UID), typ range = .25", max = .5" 

· Bluetooth (enabled through MXA-BT Bluetooth Adapter, FG5968-17)

· Mouse/Keyboard: HID Profile v1.1 

· Handset: Hands Free Profile v1.5 

· Headset Profile v1.2 

Video

· Supported Video Codecs 

· MPEG2-TS: MPEG-2 Main Profile @High Level up to 720p at 25 fps (decode only) 

· MPEG-2-TS: H.264 High Profile @Layer 4, AAC-LC up to 720p at 25 fps (encode/decode) 

· MJPEG up to 720p at 25 fps (decode only) 
· Supported Video Transport Streams (one encode plus one decode)
· MPEG-TS for MPEG2 and H.264; HTTP for MJPEG 
· Video Conferencing

· Panel-to-panel and video chat 

Audio
· Microphone: -42dB +- 3dB sensitivity FET microphone 

· Speakers: 4 ohm, 2 Watt, 300Hz cutoff frequency 

· Supported Audio Codecs:

· MP2 Layer I and II, MP3 (8 kHz, 11.025 kHz, 12 kHz, 16 kHz, 22.05 kHz, 24 kHz, 32 kHz, 44.1 kHz, 48 kHz) 

· AAC-LC (8 kHz, 96 kHz) 

· G.711 with μLaw (VoIP encode/decode at 8kHz) 

· File Formats: WAV, MP3 (as part of touch panel file only - no USB storage) 

· Intercom: Full Duplex VoIP, SIP v2.0
Graphics Engine

· AMX G5 Graphics Engine and Quad Core Processor: G5 enhanced feature set supporting multi-touch and gestures, swiping, dynamic rendering, and enhanced animations with transitions.
Embedded Applications

· Viewer Applications: PDF, JPEG, BMP, PNG, TIFF, GIF
· Remote Management: VNC Server, G5 Web Control

· Video Conferencing: Skype

· Audio Conferencing: Audio (Full Duplex Intercom)

Front Panel Components

· Light Sensor

· Photosensitive light detector for automatic adjustment of the panel brightness 

· Proximity Detector

· Max range = ~3', typ range = ~1', FOV = ~10 degrees 

· Camera 

· HD 720p camera for video conferencing/video chat support
· LED Indicators 

· Camera active indicator (models with camera only) 

· Sleep Button 

· Sleep button to activate sleep mode and powering off 

· Also provides access to setup pages (can be disabled) 

Environmental
· Power Consumption:

· Full-On: 35 W (12 VDC, 2.9 A)

· Standby: 7 W (12 VDC, 0.6 A)

· Start-Up Inrush Current: 60 A for 80 μsec 

· Dimensions: 9 3/16" x 20 3/8" x 5 7/8" (235 mm x 519 mm x 150 

· Weight: 12.2 lbs (5.53 Kg)
· Operating temperature between 32° F to 104° F (0° C to 40° C) 

· Operating Humidity 20% to 85% RH
· Power (“Heat”) Dissipation:

· On: 119.4 BTU/hr

· Standby: 23.9 BTU/hr
CERTIFICATIONS

· FCC Part 15 Class B 

· C-Tick CISPR 22 Class B 

· CE EN 55022 Class B and EN 55024 

· CB Scheme IEC 60950-1 

· IC 

· IEC/EN-60950

· UL

· RoHS/WEEE compliant

INCLUDED ACCESSORIES

· Locking 2-pin Phoenix mate (41-0002-SA) 

· MXA-USB-C, USB Port Cover Kit, Modero X Series Touch Panel (FG5968-18) 

· HPG-10-10K, 3/4” Mini-Grommet (FG570-01) 

· MXA-CLK, Modero X Series Cleaning Kit (FG5968-16) 
OPTIONAL ACCESSORIES

· Wall Mount Panels:

· MXA-FMK-20 Flush Mount Kit, 20.3” Modero X Wall Mount (FG5968-68)

· MXA-RMK-20 Rack Mount Kit, 20.3” Modero X Rack Mount (FG5969-60)

· CB-MXP19/20, Rough-in box for Modero X Series Wall/flush mount Touch Panels (FG039-15)

· CB-MXP20-F Flush Mount Rough-In Box and Cover Plate, for use with MXA-FMK-20 Flush Mount Kit for 20.3" Modero X Series Wall Mount Touch Panels (FG5968-86)  

· Tabletop Panels:

· MXA-STMK-20 Secure Table Mount Kit, 20.3" Modero X Tabletop (FG5968-64)  

· All Panels:

· MXA-MP, Modero X Series Multi Preview (FG5968-20) 

· MXA-MPL, Modero X Series Multi Preview Live (FG5968-10)

· PSR4.4 Power Supply, 4.4 A, 3.5 mm Phoenix with Retention Screws (FG423-46)  

· PSN4.4, Power Supply, 4.4 A, 3.5 mm Phoenix, 13.5 VDC (FG423-45) 

· HPG-10-10K, 3/4" Mini-Grommet, 10-Pack (FG570-01-10K) 

· MXA-BT, Bluetooth USB Adapter for Modero X Series (FG5968-19) 

· MXA-CLK, Modero X Series Cleaning Kit (FG5968-16) 

· MXA-USB-C, USB Port Covers for the Modero X Series Touch Panels (FG5968-18) 

· MXA-HST, Bluetooth Handset for Modero X Series Touch Panels (FG5968-17) 

· MXA-UENET-PAN, Video Acceleration Cable for Modero X 19.4” and 20.3” Touch Panels (FG5968-74)
PRODUCT ID

· The Tabletop Touch Panel shall be manufactured by AMX and shall be a Modero MXT-2001-PAN
· The Wall Mount Landscape Touch Panel shall be manufactured by AMX and shall be a Modero MXD-2001-PAN-L.

· The Wall Mount Portrait Touch Panel shall be manufactured by AMX and shall be a Modero MXD-2001-PAN-P

About AMX
AMX hardware and software solutions simplify the implementation, maintenance, and use of technology to create effective environments. With the increasing number of technologies and operating platforms at work and home, AMX solves the complexity of managing this technology with reliable, consistent and scalable systems. Our award-winning products span control and automation, system-wide switching and audio/video signal distribution, digital signage and technology management. They are implemented worldwide in conference rooms, homes, classrooms, network operation / command centers, hotels, entertainment venues, broadcast facilities, and more.  ©2014 AMX. All rights reserved.

Specifications subject to change.  Published 20 May 2014.
AMX.com   |   800.222.0193   |   469.624.8000   |   +1.469.624.7400   |   fax 469.624.7153
